## Slide 1
PROTOTYPE • WORK IN PROGRESS
Medical Imaging Report
An AI-assisted diagnostic reporting pipeline — scan upload to structured report
Ingestion
Preprocessing
Inference
Report
Clinician Review
Presented by the Medical Imaging Report team

## Slide 2
Project Overview
A working scaffold that takes a single uploaded scan image and returns a structured report: candidate findings with location, size and confidence, a plain-language note per finding, and an annotated overlay image.
Modeled on the full industrial pipeline:
Ingestion → Preprocessing → Inference → Report → Clinician Review
Runs locally
FastAPI backend + web frontend, no external data or GPU cluster required
One real trained model wired in
A CNN classifier with genuine test-set metrics, integrated end-to-end
Deliberately scoped
Not a CT/MRI clinical model, not a medical device, not PACS/RIS/FHIR-connected — yet
The Pipeline Today
Ingestion
PNG/JPG upload, scan_id assigned
Preprocessing
Resize, denoise, CLAHE contrast
Inference
Heuristic detection + trained classifier
Report
Structured JSON + annotated overlay
Clinician Review
Accept / reject stub in the frontend
Medical Imaging Report — Prototype
2

## Slide 3
Work Completed & Progress
Backend API
FastAPI app: upload, report, and image endpoints
Preprocessing
Load, resize, denoise, CLAHE contrast enhancement
Candidate detection
Laplacian-of-Gaussian blob detection + contrast scoring
Trained CNN classifier
SmallCNN trained on PneumoniaMNIST with real test metrics
Report generation
Structured JSON report + annotated overlay image
Frontend
Upload page, findings view, and review accept/reject stub
Real trained-model metrics — reported on every generated report, not asserted
0.961
AUC
86.7%
Accuracy
99.2%
Sensitivity
65.8%
Specificity
PneumoniaMNIST held-out test set, n = 624
Medical Imaging Report — Prototype
3

## Slide 4
Current Development Status
STATUS: FUNCTIONAL PROTOTYPE, NOT CLINICAL-GRADE
Working Today
End-to-end pipeline runs locally, upload to report
One real trained CNN integrated with genuine test metrics
Structured JSON report plus annotated overlay image
Runs on CPU — no external data or GPU cluster needed
Known Limitations
Detection is a classical CV heuristic, not a trained model
Classifier trained on a chest X-ray benchmark, not CT/MRI or hospital data
PNG/JPG only — no DICOM ingestion yet
No PACS / RIS / FHIR integration
No regulatory clearance — not a medical device
Medical Imaging Report — Prototype
4

## Slide 5
Expected Outcome
Proof the pipeline works end-to-end
A running reference implementation, from image upload to a structured, reviewable report.
A marked extension point
detect_findings() and classify() are the seam where a CT/MRI-specific model plugs in — no other code changes.
A foundation for the full plan
Aligned to the ingestion → preprocessing → inference → report → review architecture already scoped.
Transparent, honest reporting
Model metrics are measured and disclosed on every report, not asserted or hidden.
The intended extension point:
Heuristic detector + benchmark classifier
CT/MRI-specific trained model (nnU-Net / nnDetection)
Medical Imaging Report — Prototype
5

## Slide 6
Future Work
Roadmap toward the full industrial plan
1
Real DICOM ingestion
Replace PNG/JPG upload with pydicom + pynetdicom for standard clinical studies.
2
CT/MRI-specific trained models
Train nnU-Net / nnDetection on LIDC-IDRI and BraTS in place of the current heuristic and benchmark classifier.
3
Model registry & validation gate
Formal checks before any model swap reaches the running pipeline.
4
FHIR DiagnosticReport output
Replace local JSON with a standards-based report format for system integration.
5
Regulatory / QMS track
Work toward ISO 13485, IEC 62304, and CDSCO/FDA clearance requirements.
6
PACS/RIS integration & richer review
Connect to hospital systems and expand the accept/reject stub into a full clinician workflow.
Medical Imaging Report — Prototype
6

## Slide 7
IN PROGRESS
Conclusion
The project already has a real, running pipeline — upload to structured report — with one genuine trained-model integration, honestly scoped as a prototype rather than a clinical product. What's ahead is well-defined: swap in CT/MRI-specific models, add DICOM and FHIR support, and pursue the regulatory track needed for real clinical use.
Real pipeline running end-to-end today
Limitations disclosed, not hidden
Clear roadmap to the full industrial system
Next Milestone
DICOM Ingestion
+ CT/MRI Model Integration
Bringing the prototype's proven pipeline to real clinical-grade inputs and models.
Thank you